Arrival:

A TeleControl unit is installed in the cabin which has mobile number + 47 970 33 581.

Check that the alarm is off. (Send #of or call JPS, 91893523 / Harald, 95124100/Jarl, 92616366).

With access to TeleControl, different functions can be controlled. The usual is to put on heat a day before arriving. Send from mobile phone command: # varme på to 97033581.

Those who do not have access: Call JPS, 91893523 / Harald 95124100 to get warmed and unlocked.

Or with access; send # O5 3, the door will open for about 3 seconds. Inside, lock locks with a handle. There is also an opening button on the inside. Under the fuse box in the hallway is a control panel.

Press all buttons except G3, which is drainage of water pipeline. G6 must be on while in the cabin.

At the bathroom door; turn the thermostat to about 25 0C on the controller. Close doors.

Insert the plugs for the fridge and dishwasher into the mains socket in the kitchen.

The cabin is ready for use.

Radio is served as normal and for TV the decoder for RiksTV and NRK channels is connected to HDMI 1. It is always on. HDMI 2 is connected to an Croom cast unit and can be used for connecting to a SMART phone and internet cannels.

Departure:

Turn off the water main stop button, G5 button, in good time before departure (about one hour time).

Rinse down on the toilet so that the cistern becomes empty.

Screw up the water tap below the terrace that drains the water pipe outside. Close the water tap when the pipe is empty.

Fill some oil into the toilet bowl so that it becomes a film and put on the lid. (Oil is in the bottle in the storage room).

Then fill some oil into the sink in the toilet, in the sink in the laundry room and in the kitchen.

This is to avoid evaporation of water and thus get sewage odor.

Remove the plugs from the outlet for the fridge and dishwasher in the kitchen. Leave the refrigerator door open.

Set the temperature of the controller to bath (approx. 5 0C).

Leave the doors to the laundry room and bathroom a little open. Close the doors of the bedroom and kitchen.

If heat is switched on with mobile; send #varme av to 97033581, or talk to Jan P / Harald/Jarl.

Turn off all controls on the control panel.

Wear the curtains for the windows.

If heat is switched on with mobile; send #varme av to +4797033581, or talk to Jan P / Harald/Jarl.

Turn off all buttons on the control panel.

Lock the cabin: Release the locking handle, close the door, good trip home.

SMS commands / templates and pushbutton functions on the TC panel.

Turn on / off alarms arrival / departure: SMS; # AV / # ON

Turn power on / off. and laundry room: SMS: #Gar og vask PÅ/AV or push button GAR VROM

Turn on / off heat to the living room: SMS: #Varme PÅ/AV or push button VARME STUE

Turn on / off hot water tank: 		SMS: #V Tank PÅ/AV or push button VV TANK

Turn on / off main water tap in well: SMS: #Vann PÅ/AV or pushbutton STOPPECRANE

Inquire about temp and status in TC: SMS: # Temperature temperatures and div. status available.

Turn on/off the drainage of the water pipe: SMS: #Tining/Tining av or push button TINE V LEDN

# Text boxes

Garasje og vaskerom

Tining av vann

Varme i stue nord

G1

G3

G2

Hovedstoppekran

Varmtvannstank

Varme og lys kjøkken og stue syd

G6

G5

G4